## Basic
| Safety Audit Checklist - Basic |  |  |  | Facility:
Auditor:
Date:
|  |  |  | Y / N | 0,1,2,3 or 4
| Checklist item |  |  | Exist? | Rating | Comments
Facility entrance and safety first impression
1 |  | Appropriate safety protective equipment is provided to visitors
2 |  | Appropriate site information and safety rules are provided to visitors
3 |  | Smoking is strictly prohibited except in the specified areas
4 |  | The use of mobile phones is strictly prohibited on the shop floor
5 |  | Work areas are generally safe and free from hazards and other obstructions
6 |  | Safety rules are being enforced visually throughout the whole facility
7 |  | Employees are using PPEs correctly and at all time (hearing protection and safety footwear)
8 |  | PPEs are being used as per the requirement (helmets, face shields, goggles, safety glasses, masks and respirators, safety gloves, safety harnesses)
Fire and emergency*
9 |  | The general condition of fire extinguishers is satisfactory (cleanliness, labeling, visibility, safety seal)
10 |  | Fire extinguishers are tagged with the last date of inspection (no more than 12 months)
11 |  | The firefighting equipment cabinet is in good condition and has a checklist of its content
12 |  | The fire protection system (detection, alarm, sprinkler, pump and hose subsystems) is tested periodically
13 |  | Emergency drills are conducted on a regular basis and for all shifts
14 |  | Evacuation procedures and routs are posted at appropriate places
15 |  | Emergency lighting is in good condition and exit doors are operating properly
16 |  | Emergency services numbers are posted at appropriate places
17 |  | At least one member in every work area is trained on fire fighting
First aid and accident reporting
18 |  | First aid stations are in good condition and accessible during all work shifts
19 |  | First aid stations are regularly inspected for content** and items are within use-by dates
20 |  | Items in each first aid station are of sufficient quantities and adequately stocked
21 |  | At least one first aider is present at all times during working hours for every 50 workers
22 |  | Specific procedures are in place in the event of accidents, incidents and near misses
23 |  | Accident and serious incident investigations are conducted to determine causes and avoid recurrence
24 |  | Investigation results of accidents and serious incidents are communicated to all internal teams
Safety systems
25 |  | Safety measures are in place (e.g. recordable cases, near miss cases, lost work days)
26 |  | A workplace inspection system is in place to report unsafe conditions
27 |  | A safety observation and communication system is in place to report unsafe acts
28 |  | Hazard identification and risk assessments are performed reactively and proactively (in highly unsafe areas)
29 |  | Safety training programs are delivered by qualified personnel, included in the training plan, and recorded
30 |  | Skills matrices are utilized to manage and track safety skills of all work teams
Comments
0
|  |  | Score: | 0%
Continuous Improvement Toolkit . www.citoolkit.com
Guide:
Use either the checklist or the rating system to ensure that safety standards are being met.
In the rating column, use the following rating criteria: 0 for 'very poor', 1 for 'poor', 2 for 'good', 3 for 'very good' and 4 for 'excellent'.
You need only to fill the white cells.
* Examples of emergencies other than fires are: earthquakes, bomb threats, gas leaks, chemical spills, violence, sand storms and floods.
**Each first aid station should includes at least: bandages, emergency blankets, antiseptic wipes, gloves, adhesive tapes, gauze rolls and pads, instant cold packs, scissors and tweezers, and a first aid manual.

## Advanced
| Safety Audit Checklist - Advanced |  |  |  | Facility:
Auditor:
Date:
|  |  |  | Y / N | 0,1,2,3 or 4
| Checklist item |  |  | Exist? | Rating | Comments
Chemical
1 |  | A master list of all chemicals, solvents and lubricants is in place
2 |  | Material Safety Data Sheets (MSDS) are available where materials are being used and up to date
3 |  | Appropriate safety containers are being used for chemical and solvent handling
4 |  | All containers are clearly labeled with the appropriate content (including trial materials)
5 |  | Man showers and eye baths are in place in chemical and solvent areas
6 |  | The contents of the emergency spill kit cabinets are clearly identified and regularly checked
7 |  | Hazardous and combustible materials are stored away from electrical equipment and ignition sources
Electromechanical
8 |  | Every electrical device is switched-off if not in use
9 |  | All electrical cabinets are locked when not being worked on
10 |  | Using improper or unauthorized electrical appliances is prohibited in the facility
11 |  | Electrical plugs and wires are in good conditions and inspected for possible damage regularly
12 |  | Power sources are disconnected before repairing, lubricating or cleaning any machinery that is in motion
13 |  | Equipment guards are in place and must prevent all access to moving parts
14 |  | Equipment guards are secured by a method requiring a tool to remove it
15 |  | The facility uses an effective lockout/tagout system during service or maintenance activities
Environmental
16 |  | Waste is segregated or recycled where possible
17 |  | Waste containers are kept closed and secured except when waste is being added or removed
18 |  | Efforts are being made to reduce wastage (a waste management plan is in place)
19 |  | Efforts are being made to reduce energy and water consumption
20 |  | Air emission and water effluent controls are in place
21 |  | Air quality and noise level are measured and monitored regularly
More
22 |  | Ladders are in good condition, inspected regularly and used properly
23 |  | Ladders are secured (via a locked chain) and only used by authorized and trained personnel
24 |  | Permit to work is applied for all work within confined spaces or at height
25 |  | Safety alerts and route signs are in place when working on fragile roofs
26 |  | Safety walkways for pedestrians are identified and handrails are in place at slippery floors or at heights
27 |  | Signage, hazard warnings and safety instructions are in place at the point of need
28 |  | Visual management maps are used to monitored the areas of highly unsafe cases and high risks
29 |  | Cranes and forklifts are only operated by authorized and licensed drivers
30 |  | The EHS representative is authorized to instruct the workers to follow safety rules
Comments
0
|  |  | Score: | 0%
Continuous Improvement Toolkit . www.citoolkit.com
Guide:
Use either the checklist or the rating system to ensure that safety standards are being met.
In the rating column, use the following rating criteria: 0 for 'very poor', 1 for 'poor', 2 for 'good', 3 for 'very good' and 4 for 'excellent'.
You need only to fill the white cells.